- Immediately notify an electrician when a dangerous electrical condition is identified.

- Do not permit the use of electrical installations that do not comply with technical requirements.

- Only electricians shall perform maintenance and repair on electrical equipment and circuits.

- Repairs shall not be performed on equipment or systems that have not been de-energized.

- A warning sign shall be placed on the panel or switch from which the power has been disconnected.

- Inspect the electrical tool and its cable before use.

- Never pull on the cable to disconnect the plug from the socket.

- Do not route cables over hot surfaces or sharp edges.

- Do not use defective plugs or sockets.

- When defective equipment is identified, immediately remove it from service.

- Appropriate warning signs shall be posted on all electrical panels and power sources.

- Only authorized personnel shall enter areas containing the main electrical installation.

- Except during repair, electrical panel covers shall be kept closed.

- Chemicals, flammable, and combustible materials shall not be stored near electrical panels.

- Materials shall not be stored in a way that blocks access to electrical panels, control boxes, or emergency switches.

- All panels shall be grounded, and hand tools without proper grounding shall not be used.

- Hand tools shall not be placed where they may fall.

- Measures shall be taken to prevent electrical cables from causing trips and consequent falls.

- Protective equipment shall be used when working with hand tools.

- Do not reach excessively while working with hand tools. Keep your feet firmly and securely positioned.

- When not in use, first switch off electric hand tools using the on/off switch and then unplug them.

- After completing work, do not keep your finger on the hand tool trigger.

- Replace defective or unsafe tools with new ones.

- When working at height, secure hand tools against falling. Do not leave hand tools randomly in passageways or walkways where personnel may trip over them.

- Do not throw tools from one place to another.

- Keep tools clean to prevent slipping from the hand; do not allow grease or oil to contaminate them.

- Do not use the cable of electric hand tools to suspend or pull the tool.

- Do not stand on wet or damp floors when using electrical tools.

ACKNOWLEDGED BY 						NOTIFIED BY

Full Name: 								Full Name:

Signature: 							              Signature:

Date: 									Date: