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	Number
	Question
	Y/N
	Explanation

	1
	Has an Emergency Escape (Fire) Stairway Been Designated?
	
	



	2
	Are Emergency Exit and First Aid Signs Available?
	
	

	3
	Is Emergency Lighting Available?
	
	

	4
	Has an Emergency and Disaster Assembly Area Been Designated?
	
	

	5
	Is an Emergency Evacuation Plan Available?
	
	

	6
	Have Emergency Response Teams Been Designated?
(Firefighting Team, Rescue Team, Protection Team, First Aid Team, Support Personnel)
	
	

	7
	Has an Employee Representative Been Designated?
	
	

	8
	Is Lighting Available in the Emergency Escape (Fire) Stairways?
	
	

	9
	Has a Fire Drill Been Conducted?
	
	

	
   10
	Is a Fire Detection and Alarm System Available?
	
	

	11
	Are Fire Extinguishers (FE) Available? Are Periodic Inspections Being Carried Out?
	
	

	12
	Are Periodic Inspections of the Fire Protection System Being Carried Out?
	
	

	
13
	Is a Fire Hose Cabinet Available?
	
	


	14
	Is There a Boiler Room? Is a Gas Alarm Device Available?
	
	

	15
	Is There an Authorized Person Responsible for the Boiler Room? Is There a Vocational Qualification Certificate?
	
	

	16
	Are Warning Signs Available for the Boiler Room?
	
	

	17
	Is There a Dining Hall? Is It Used as a Kitchen or for Meal Service?
	
	

	18
	Are Water Tanks Cleaned Regularly?
	
	

	19
	Are Periodic Inspections of Pressure Vessels Being Carried Out?
	
	

	20
	Are Periodic Inspections of the Electrical Installation Being Carried Out?
	
	

	21
	Is There a Building Earthquake Resistance Report?
	
	

	
22
	Are Warning Signs Available on Electrical Panels?
	
	


	23
	Are Insulating Mats Provided in Front of Electrical Panels?
	
	

	24
	Is an Uninterruptible Power Supply (UPS) Available?
	
	

	25
	Is a Generator Available? Are Periodic Inspections Being Carried Out?
	
	

	26
	Are Hand Tools Used?
(saws, drills, etc.)
	
	

	27
	Is There an Elevator? Are Periodic Inspections Being Carried Out?
	
	

	28
	Are Anti-Slip Strips Installed on the Building Stairways?
	
	

	29
	Are Technical Personnel Available? Do They Have Vocational Qualification Certificates?
(electrical, construction, mechanical, etc.)
	
	

	30
	Are Residual Current Devices (RCDs) Installed in Electrical Panels?
	
	

	31
	Is a Lightning Protection System (Lightning Rod) Available? Are Periodic Inspections Being Carried Out?
	
	

	32
	Are There Spliced Connections in Electrical Cables? Are There Any Damaged Cables?
	
	

	33
	Is Work Involving Chemicals Carried Out?
	
	


	34
	Has the Required Personal Protective Equipment (PPE) Been Provided for the Chemicals Used? Is an Eyewash Station and Emergency Body Shower Available?
(respiratory protection, face shields, protective coveralls, aprons, gloves, safety boots)
	
	 

	
35
	Are MSDS Forms Available for the Chemicals?
(Material Safety Data Sheets)
	
	


	36
	Is Hazardous Waste Generated?
(fluorescent lamps, toner cartridges, batteries, etc.)
	
	


	37
	Has PPE Been Provided for Personnel Identified as Being at Risk?
(Personal Protective Equipment)
(Head Protection, Hearing Protection, Eye and Face Protection, Respiratory Protection, Trunk and Abdomen Protection, Hand and Arm Protection, Foot and Leg Protection, Skin Protection, Body Protection)
	
	

	

38
	Is a Safety Net Available for Work at Height?
	
	
.

	39
	Is a First Aid Cabinet Available? Does It Contain Appropriate Supplies?
(Sterile gauze, bandages of various sizes, elastic bandages of various sizes, triangular bandage, adhesive tape, surgical scissors, adhesive bandages, burn gel, burn dressing, safety pins, masks, gloves)
	
	

	
40
	Are Cabinets Properly Secured?
	
	

	41
	Is Work Involving Radiation Carried Out? What Disposal Procedures Are Used? What Are the Storage Requirements?
	
	

	


42
	Are There Any Loose or Dislodged Electrical Outlets?
	
	




	43
	Is There a Transformer Substation? Are the Required Safety Equipment and Materials Available? Is There a Person Holding a High Voltage Installation Operating Supervisor (YGTİS) Certificate?
(Insulated gloves, insulated boots, switching rod, insulating mat, insulated platform, voltage detector, safety helmet, safety goggles, hearing protection)
	
	


	44
	Are Vehicles or Construction Machinery Used? Do the Operators Have the Required Licenses and Certificates?
(ambulance, automobile, bus, van, truck, tractor-trailer, tower crane, excavator, grader, bulldozer, etc.)
	
	

	45
	Are Machine Tools Used?
(mechanical press, lathe, milling machine, etc.)
	
	

	46
	Are Roof Access Doors Locked?
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