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1. All chemicals shall be stored separately in designated storage areas, on a hard surface, in leak-proof containment trays, and with appropriate labels.
2. The safety and security measures specified in the Safety Data Sheets (SDS) for chemical materials to be used and stored on site shall be implemented.
3. An emergency response plan shall be prepared for chemical storage and use activities.
4. Specific measures shall be established against fire, spills, and leaks for potentially hazardous substances such as explosives, oils, petroleum products, solvents, and reducing agents.
5. Flammable materials shall be stored in labeled, fire-protected rooms in accordance with applicable regulations.
6. In areas where work is being carried out, the necessary spill response equipment or absorbent materials shall be kept readily available in a temporary containment area to respond to chemical spills. In the event of a spill, the area contaminated with the chemical shall be covered with sand, sawdust, or other commercially available absorbent materials.
7. The storage of hazardous chemicals shall be carried out in accordance with the Hazardous Chemicals Regulation.
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